## README
Field | Description
Downloadable FITS data source | https://ssdc.nju.edu.cn/NdchaseSatellite
Dataset | Supplementary source data underlying Figure 6
Observation mode | RSM
Spectral line | Hα
Observation interval | 2022-12 to 2026-07
Operational-state criterion | Observations from December 2022 onward are included. Cable shedding was completed on 7 November 2022; December 2022 is used as the first complete calendar month of fully mechanically untethered operation.
Sampling design | Ordinal-stratified sampling of the chronologically ordered monthly pool after restricting the pool to the uniform Level-1 configuration; nominally 10 scans per month.
Uniform configuration | BIN=2; EXP_TIME=0.005 s; STEPTIME=0.010 s; CDELT1≈CDELT2≈1.04 arcsec/pixel; CDELT3 is the calibrated per-file wavelength increment; nominal BIN=2 sampling is ≈0.0484 Å/pixel and a ±1% sanity band is used only to reject grossly incompatible configurations.
Statistical unit | One selected RSM-Hα raster observation.
Primary Figure 6 metric | MAD-based robust 3-sigma of the central-disk within-scan detrended Hα line-center residual, in mÅ.
Spectral shift method | Cross-correlation against a central-disk reference spectrum with sub-pixel parabolic interpolation; correlation solutions at the mathematical lag boundary are rejected.
Detrending | Iterative MAD-clipped linear baseline versus y scan step; the final robust residual spread is calculated around this baseline.
Spectral sampling | The actual Level-1 wavelength sampling is recorded for each scan. No spectral-sampling threshold is drawn in the main Figure 6.
Rice compression | Astropy reads Rice-compressed Level-1 FITS directly; HDU.section is used where possible.
Interpretation | Central-disk within-scan spectroscopic consistency metric during fully mechanically untethered operation; not a direct pointing measurement and not a fully solar-background-corrected Doppler residual.
Descriptive monthly-median trend | −0.1289 mÅ/year; 95% CI: −0.1802 to −0.0777 mÅ/year. This is a descriptive OLS trend of monthly medians and is not interpreted as a causal spacecraft-performance model.

## ScanMetrics
observation_utc | product_filename | month | robust_sigma_mA | robust_3sigma_mA | spectral_sampling_mA_pix | n_analysis_steps | n_valid_steps
2022-12-02T14:02:47+00:00 | RSM20221202T140247_0000_HA.fits | 2022-12 | 1.9502 | 5.8507 | 48.5171 | 1502 | 1502
2022-12-06T11:25:24+00:00 | RSM20221206T112524_0008_HA.fits | 2022-12 | 1.8208 | 5.4623 | 48.4758 | 1500 | 1500
2022-12-09T21:40:49+00:00 | RSM20221209T214049_0011_HA.fits | 2022-12 | 2.0343 | 6.1029 | 48.4979 | 1500 | 1500
2022-12-11T08:24:59+00:00 | RSM20221211T082459_0009_HA.fits | 2022-12 | 1.8952 | 5.6855 | 48.4975 | 1498 | 1498
2022-12-14T17:00:41+00:00 | RSM20221214T170041_0008_HA.fits | 2022-12 | 1.7365 | 5.2095 | 48.5091 | 1500 | 1500
2022-12-18T04:40:03+00:00 | RSM20221218T044003_0002_HA.fits | 2022-12 | 1.9819 | 5.9456 | 48.5183 | 1508 | 1508
2022-12-19T07:44:08+00:00 | RSM20221219T074408_0012_HA.fits | 2022-12 | 1.6575 | 4.9724 | 48.4847 | 1504 | 1504
2022-12-21T05:30:05+00:00 | RSM20221221T053005_0006_HA.fits | 2022-12 | 1.9389 | 5.8168 | 48.5161 | 1508 | 1508
2022-12-24T04:45:53+00:00 | RSM20221224T044553_0009_HA.fits | 2022-12 | 2.1148 | 6.3445 | 48.4962 | 1504 | 1504
2022-12-30T18:50:06+00:00 | RSM20221230T185006_0001_HA.fits | 2022-12 | 1.9943 | 5.9828 | 48.4784 | 1506 | 1506
2023-01-01T16:50:19+00:00 | RSM20230101T165019_0007_HA.fits | 2023-01 | 1.865 | 5.595 | 48.4946 | 1502 | 1502
2023-01-04T04:50:41+00:00 | RSM20230104T045041_0001_HA.fits | 2023-01 | 1.8298 | 5.4894 | 48.5078 | 1506 | 1506
2023-01-06T21:55:55+00:00 | RSM20230106T215555_0013_HA.fits | 2023-01 | 1.7731 | 5.3192 | 48.4352 | 1508 | 1508
2023-01-09T09:50:17+00:00 | RSM20230109T095017_0001_HA.fits | 2023-01 | 1.8125 | 5.4374 | 48.4554 | 1504 | 1504
2023-01-12T02:50:40+00:00 | RSM20230112T025040_0008_HA.fits | 2023-01 | 1.6571 | 4.9713 | 48.4502 | 1502 | 1502
2023-01-15T13:00:59+00:00 | RSM20230115T130059_0003_HA.fits | 2023-01 | 1.7199 | 5.1597 | 48.4553 | 1502 | 1502
2023-01-18T12:10:13+00:00 | RSM20230118T121013_0001_HA.fits | 2023-01 | 1.7904 | 5.3712 | 48.4557 | 1500 | 1500
2023-01-21T03:33:02+00:00 | RSM20230121T033302_0006_HA.fits | 2023-01 | 1.7223 | 5.167 | 48.4477 | 1508 | 1508
2023-01-24T06:00:12+00:00 | RSM20230124T060012_0011_HA.fits | 2023-01 | 1.988 | 5.964 | 48.4504 | 1502 | 1502
2023-01-29T07:40:34+00:00 | RSM20230129T074034_0004_HA.fits | 2023-01 | 1.6912 | 5.0735 | 48.4305 | 1506 | 1506
2023-02-02T20:50:53+00:00 | RSM20230202T205053_0005_HA.fits | 2023-02 | 1.9104 | 5.7311 | 48.4688 | 1506 | 1506
2023-02-05T02:40:19+00:00 | RSM20230205T024019_0007_HA.fits | 2023-02 | 1.7729 | 5.3188 | 48.4645 | 1500 | 1500
2023-02-08T03:20:20+00:00 | RSM20230208T032020_0002_HA.fits | 2023-02 | 1.6155 | 4.8466 | 48.4551 | 1502 | 1502
2023-02-12T03:50:57+00:00 | RSM20230212T035057_0003_HA.fits | 2023-02 | 1.8975 | 5.6924 | 48.4631 | 1496 | 1496
2023-02-15T04:40:10+00:00 | RSM20230215T044010_0006_HA.fits | 2023-02 | 1.476 | 4.4279 | 48.441 | 1494 | 1494
2023-02-18T22:44:52+00:00 | RSM20230218T224452_0002_HA.fits | 2023-02 | 1.9154 | 5.7462 | 48.4772 | 1502 | 1502
2023-02-22T05:59:55+00:00 | RSM20230222T055955_0015_HA.fits | 2023-02 | 1.6656 | 4.9968 | 48.4665 | 1492 | 1492
2023-02-25T02:00:32+00:00 | RSM20230225T020032_0015_HA.fits | 2023-02 | 1.7246 | 5.1739 | 48.487 | 1492 | 1492
2023-02-27T22:00:46+00:00 | RSM20230227T220046_0017_HA.fits | 2023-02 | 1.8174 | 5.4521 | 48.4825 | 1496 | 1496
2023-02-28T21:25:14+00:00 | RSM20230228T212514_0001_HA.fits | 2023-02 | 1.7074 | 5.1222 | 48.4415 | 1488 | 1488
2023-03-02T07:00:28+00:00 | RSM20230302T070028_0020_HA.fits | 2023-03 | 1.7326 | 5.1978 | 48.4621 | 1496 | 1496
2023-03-05T15:25:42+00:00 | RSM20230305T152542_0008_HA.fits | 2023-03 | 1.6841 | 5.0523 | 48.4517 | 1488 | 1488
2023-03-08T01:55:22+00:00 | RSM20230308T015522_0007_HA.fits | 2023-03 | 1.7308 | 5.1924 | 48.4449 | 1488 | 1488
2023-03-12T21:40:49+00:00 | RSM20230312T214049_0023_HA.fits | 2023-03 | 1.6407 | 4.9221 | 48.4439 | 1488 | 1488
2023-03-16T07:30:52+00:00 | RSM20230316T073052_0003_HA.fits | 2023-03 | 1.822 | 5.466 | 48.4524 | 1480 | 1480
2023-03-18T19:45:38+00:00 | RSM20230318T194538_0011_HA.fits | 2023-03 | 2.0639 | 6.1918 | 48.4819 | 1492 | 1492
2023-03-21T22:00:01+00:00 | RSM20230321T220001_0007_HA.fits | 2023-03 | 2.0064 | 6.0192 | 48.4787 | 1484 | 1484
2023-03-24T11:50:39+00:00 | RSM20230324T115039_0016_HA.fits | 2023-03 | 1.8129 | 5.4386 | 48.5066 | 1484 | 1484
2023-03-27T09:20:10+00:00 | RSM20230327T092010_0012_HA.fits | 2023-03 | 1.715 | 5.1449 | 48.4956 | 1484 | 1484
2023-03-30T08:20:54+00:00 | RSM20230330T082054_0005_HA.fits | 2023-03 | 1.7304 | 5.1913 | 48.4854 | 1482 | 1482
2023-04-01T11:00:06+00:00 | RSM20230401T110006_0008_HA.fits | 2023-04 | 1.656 | 4.9681 | 48.4832 | 1482 | 1482
2023-04-06T03:30:42+00:00 | RSM20230406T033042_0021_HA.fits | 2023-04 | 1.8384 | 5.5151 | 48.4771 | 1476 | 1476
2023-04-09T16:50:42+00:00 | RSM20230409T165042_0019_HA.fits | 2023-04 | 1.7436 | 5.2309 | 48.4917 | 1476 | 1476
2023-04-12T20:40:14+00:00 | RSM20230412T204014_0016_HA.fits | 2023-04 | 1.8479 | 5.5436 | 48.5238 | 1470 | 1470
2023-04-15T12:00:21+00:00 | RSM20230415T120021_0021_HA.fits | 2023-04 | 1.8954 | 5.6861 | 48.4773 | 1468 | 1468
2023-04-18T03:00:15+00:00 | RSM20230418T030015_0009_HA.fits | 2023-04 | 1.7715 | 5.3146 | 48.475 | 1472 | 1472
2023-04-21T22:30:49+00:00 | RSM20230421T223049_0000_HA.fits | 2023-04 | 1.787 | 5.361 | 48.4836 | 1476 | 1476
2023-04-24T10:40:57+00:00 | RSM20230424T104057_0005_HA.fits | 2023-04 | 1.7997 | 5.3992 | 48.4807 | 1470 | 1470
2023-04-27T02:00:39+00:00 | RSM20230427T020039_0010_HA.fits | 2023-04 | 1.7167 | 5.1502 | 48.4763 | 1468 | 1468
2023-04-30T06:00:14+00:00 | RSM20230430T060014_0016_HA.fits | 2023-04 | 1.8115 | 5.4345 | 48.4898 | 1466 | 1466
2023-05-02T07:00:20+00:00 | RSM20230502T070020_0005_HA.fits | 2023-05 | 1.8121 | 5.4364 | 48.4796 | 1476 | 1476
2023-05-05T03:00:51+00:00 | RSM20230505T030051_0018_HA.fits | 2023-05 | 1.7345 | 5.2035 | 48.4645 | 1464 | 1464
2023-05-07T18:00:12+00:00 | RSM20230507T180012_0006_HA.fits | 2023-05 | 1.8036 | 5.4107 | 48.4884 | 1468 | 1468
2023-05-09T11:20:16+00:00 | RSM20230509T112016_0018_HA.fits | 2023-05 | 1.6845 | 5.0535 | 48.4922 | 1458 | 1458
2023-05-11T03:00:51+00:00 | RSM20230511T030051_0024_HA.fits | 2023-05 | 1.7899 | 5.3697 | 48.4998 | 1470 | 1470
2023-05-14T19:30:10+00:00 | RSM20230514T193010_0018_HA.fits | 2023-05 | 1.9745 | 5.9236 | 48.5054 | 1464 | 1464
2023-05-17T20:00:36+00:00 | RSM20230517T200036_0004_HA.fits | 2023-05 | 2.0302 | 6.0907 | 48.4916 | 1468 | 1468
2023-05-20T10:00:55+00:00 | RSM20230520T100055_0019_HA.fits | 2023-05 | 1.8727 | 5.6181 | 48.4821 | 1462 | 1462
2023-05-23T08:50:49+00:00 | RSM20230523T085049_0000_HA.fits | 2023-05 | 1.7217 | 5.1651 | 48.4733 | 1462 | 1462
2023-05-25T19:50:53+00:00 | RSM20230525T195053_0023_HA.fits | 2023-05 | 2.0359 | 6.1077 | 48.4868 | 1460 | 1460
2023-06-01T02:00:40+00:00 | RSM20230601T020040_0015_HA.fits | 2023-06 | 2.0376 | 6.1129 | 48.493 | 1458 | 1458
2023-06-05T02:30:38+00:00 | RSM20230605T023038_0014_HA.fits | 2023-06 | 1.7998 | 5.3995 | 48.4917 | 1458 | 1458
2023-06-07T00:33:14+00:00 | RSM20230607T003314_0022_HA.fits | 2023-06 | 1.7577 | 5.2732 | 48.4962 | 1458 | 1458
2023-06-10T13:45:32+00:00 | RSM20230610T134532_0010_HA.fits | 2023-06 | 1.7554 | 5.2662 | 48.4721 | 1458 | 1458
2023-06-13T05:00:29+00:00 | RSM20230613T050029_0008_HA.fits | 2023-06 | 1.6627 | 4.9881 | 48.4967 | 1456 | 1456
2023-06-16T16:50:44+00:00 | RSM20230616T165044_0007_HA.fits | 2023-06 | 1.9152 | 5.7456 | 48.4824 | 1452 | 1452
2023-06-20T16:00:45+00:00 | RSM20230620T160045_0019_HA.fits | 2023-06 | 1.8251 | 5.4753 | 48.4824 | 1452 | 1452
2023-06-23T08:50:28+00:00 | RSM20230623T085028_0017_HA.fits | 2023-06 | 1.9002 | 5.7005 | 48.5 | 1454 | 1454
2023-06-26T01:30:38+00:00 | RSM20230626T013038_0007_HA.fits | 2023-06 | 1.9575 | 5.8725 | 48.5102 | 1450 | 1450
2023-06-30T13:00:49+00:00 | RSM20230630T130049_0003_HA.fits | 2023-06 | 1.872 | 5.616 | 48.4818 | 1456 | 1456
2023-07-03T17:00:42+00:00 | RSM20230703T170042_0006_HA.fits | 2023-07 | 1.7636 | 5.2908 | 48.4945 | 1456 | 1456
2023-07-06T02:14:29+00:00 | RSM20230706T021429_0020_HA.fits | 2023-07 | 1.8027 | 5.4082 | 48.4736 | 1464 | 1464
2023-07-09T09:00:28+00:00 | RSM20230709T090028_0000_HA.fits | 2023-07 | 1.8297 | 5.4891 | 48.4821 | 1456 | 1456
2023-07-12T00:30:16+00:00 | RSM20230712T003016_0010_HA.fits | 2023-07 | 1.899 | 5.6969 | 48.5066 | 1458 | 1458
2023-07-16T18:20:53+00:00 | RSM20230716T182053_0010_HA.fits | 2023-07 | 1.7623 | 5.2868 | 48.5038 | 1454 | 1454
2023-07-19T20:30:08+00:00 | RSM20230719T203008_0000_HA.fits | 2023-07 | 1.7311 | 5.1934 | 48.5206 | 1455 | 1455
2023-07-23T00:30:47+00:00 | RSM20230723T003047_0000_HA.fits | 2023-07 | 1.9462 | 5.8385 | 48.4978 | 1456 | 1456
2023-07-28T12:00:23+00:00 | RSM20230728T120023_0010_HA.fits | 2023-07 | 1.8352 | 5.5055 | 48.4849 | 1460 | 1460
2023-07-29T19:40:59+00:00 | RSM20230729T194059_0010_HA.fits | 2023-07 | 1.8172 | 5.4516 | 48.4915 | 1456 | 1456
2023-07-31T12:30:52+00:00 | RSM20230731T123052_0000_HA.fits | 2023-07 | 2.0293 | 6.0879 | 48.4912 | 1456 | 1456
2023-08-02T18:40:18+00:00 | RSM20230802T184018_0020_HA.fits | 2023-08 | 1.4601 | 4.3802 | 48.4703 | 1452 | 1452
2023-08-05T02:00:53+00:00 | RSM20230805T020053_0020_HA.fits | 2023-08 | 1.6636 | 4.9907 | 48.4975 | 1463 | 1463
2023-08-09T06:55:55+00:00 | RSM20230809T065555_0000_HA.fits | 2023-08 | 1.7417 | 5.2252 | 48.5004 | 1453 | 1453
2023-08-12T14:00:00+00:00 | RSM20230812T140000_0000_HA.fits | 2023-08 | 1.6915 | 5.0745 | 48.5139 | 1457 | 1457
2023-08-15T08:40:06+00:00 | RSM20230815T084006_0000_HA.fits | 2023-08 | 1.4351 | 4.3052 | 48.5029 | 1458 | 1458
2023-08-18T14:15:01+00:00 | RSM20230818T141501_0010_HA.fits | 2023-08 | 1.897 | 5.691 | 48.5103 | 1460 | 1460
2023-08-21T08:30:08+00:00 | RSM20230821T083008_0010_HA.fits | 2023-08 | 1.6731 | 5.0193 | 48.5235 | 1469 | 1469
2023-08-24T04:40:15+00:00 | RSM20230824T044015_0010_HA.fits | 2023-08 | 1.8687 | 5.606 | 48.4884 | 1462 | 1462
2023-08-27T07:00:24+00:00 | RSM20230827T070024_0010_HA.fits | 2023-08 | 1.5936 | 4.7807 | 48.4965 | 1465 | 1465
2023-08-30T02:40:49+00:00 | RSM20230830T024049_0000_HA.fits | 2023-08 | 1.6444 | 4.9331 | 48.5058 | 1463 | 1463
2023-09-02T06:40:29+00:00 | RSM20230902T064029_0000_HA.fits | 2023-09 | 1.7276 | 5.1827 | 48.4912 | 1467 | 1467
2023-09-05T10:30:35+00:00 | RSM20230905T103035_0000_HA.fits | 2023-09 | 1.8097 | 5.429 | 48.5232 | 1463 | 1463
2023-09-08T19:20:39+00:00 | RSM20230908T192039_0010_HA.fits | 2023-09 | 1.9354 | 5.8061 | 48.5175 | 1472 | 1472
2023-09-12T13:30:34+00:00 | RSM20230912T133034_0010_HA.fits | 2023-09 | 1.818 | 5.4541 | 48.5081 | 1473 | 1473
2023-09-15T20:25:27+00:00 | RSM20230915T202527_0000_HA.fits | 2023-09 | 1.7291 | 5.1874 | 48.5219 | 1465 | 1465
2023-09-18T04:00:39+00:00 | RSM20230918T040039_0015_HA.fits | 2023-09 | 1.6312 | 4.8937 | 48.4959 | 1469 | 1469
2023-09-21T11:10:43+00:00 | RSM20230921T111043_0020_HA.fits | 2023-09 | 1.7831 | 5.3492 | 48.4668 | 1470 | 1470
2023-09-24T11:44:37+00:00 | RSM20230924T114437_0011_HA.fits | 2023-09 | 1.7969 | 5.3907 | 48.4748 | 1475 | 1475
2023-09-28T07:20:29+00:00 | RSM20230928T072029_0005_HA.fits | 2023-09 | 1.745 | 5.2349 | 48.5066 | 1482 | 1482
2023-09-30T22:48:29+00:00 | RSM20230930T224829_0016_HA.fits | 2023-09 | 1.5767 | 4.7302 | 48.4649 | 1474 | 1474
2023-10-01T00:04:27+00:00 | RSM20231001T000427_0000_HA.fits | 2023-10 | 1.5541 | 4.6623 | 48.4444 | 1479 | 1479
2023-10-04T02:30:35+00:00 | RSM20231004T023035_0006_HA.fits | 2023-10 | 1.7643 | 5.2929 | 48.4693 | 1476 | 1476
2023-10-07T01:58:42+00:00 | RSM20231007T015842_0022_HA.fits | 2023-10 | 1.8331 | 5.4994 | 48.5333 | 1482 | 1482
2023-10-10T02:34:22+00:00 | RSM20231010T023422_0015_HA.fits | 2023-10 | 1.7546 | 5.2639 | 48.4635 | 1480 | 1480
2023-10-13T03:07:26+00:00 | RSM20231013T030726_0006_HA.fits | 2023-10 | 1.8361 | 5.5082 | 48.467 | 1487 | 1487
2023-10-16T16:50:04+00:00 | RSM20231016T165004_0023_HA.fits | 2023-10 | 1.763 | 5.289 | 48.5145 | 1484 | 1484
2023-10-19T14:21:28+00:00 | RSM20231019T142128_0021_HA.fits | 2023-10 | 1.7178 | 5.1533 | 48.5023 | 1484 | 1484
2023-10-22T21:13:33+00:00 | RSM20231022T211333_0012_HA.fits | 2023-10 | 1.6944 | 5.0833 | 48.4956 | 1483 | 1483
2023-10-25T21:46:11+00:00 | RSM20231025T214611_0003_HA.fits | 2023-10 | 1.8434 | 5.5303 | 48.4353 | 1485 | 1485
2023-10-29T00:04:10+00:00 | RSM20231029T000410_0003_HA.fits | 2023-10 | 1.8275 | 5.4825 | 48.47 | 1487 | 1487
2023-11-01T00:43:37+00:00 | RSM20231101T004337_0000_HA.fits | 2023-11 | 1.6741 | 5.0222 | 48.4731 | 1486 | 1486
2023-11-03T22:34:52+00:00 | RSM20231103T223452_0008_HA.fits | 2023-11 | 1.8672 | 5.6016 | 48.4862 | 1491 | 1491
2023-11-08T03:51:33+00:00 | RSM20231108T035133_0009_HA.fits | 2023-11 | 1.6489 | 4.9467 | 48.4789 | 1491 | 1491
2023-11-11T15:43:27+00:00 | RSM20231111T154327_0012_HA.fits | 2023-11 | 1.7749 | 5.3247 | 48.4909 | 1489 | 1489
2023-11-14T10:04:21+00:00 | RSM20231114T100421_0007_HA.fits | 2023-11 | 1.7408 | 5.2223 | 48.4854 | 1494 | 1494
2023-11-17T04:31:04+00:00 | RSM20231117T043104_0007_HA.fits | 2023-11 | 1.734 | 5.202 | 48.47 | 1490 | 1490
2023-11-19T22:55:21+00:00 | RSM20231119T225521_0005_HA.fits | 2023-11 | 1.6872 | 5.0616 | 48.4622 | 1492 | 1492
2023-11-22T17:21:57+00:00 | RSM20231122T172157_0005_HA.fits | 2023-11 | 1.7199 | 5.1598 | 48.4709 | 1497 | 1497
2023-11-25T11:54:22+00:00 | RSM20231125T115422_0010_HA.fits | 2023-11 | 1.5697 | 4.709 | 48.4873 | 1495 | 1495
2023-11-28T06:16:01+00:00 | RSM20231128T061601_0006_HA.fits | 2023-11 | 1.7387 | 5.2162 | 48.4923 | 1498 | 1498
2023-12-01T00:35:11+00:00 | RSM20231201T003511_0000_HA.fits | 2023-12 | 1.6163 | 4.8489 | 48.5156 | 1498 | 1498
2023-12-04T01:37:34+00:00 | RSM20231204T013734_0014_HA.fits | 2023-12 | 1.6997 | 5.099 | 48.4915 | 1499 | 1499
2023-12-07T04:01:43+00:00 | RSM20231207T040143_0017_HA.fits | 2023-12 | 1.7467 | 5.24 | 48.4656 | 1496 | 1496
2023-12-10T06:09:13+00:00 | RSM20231210T060913_0006_HA.fits | 2023-12 | 1.7267 | 5.1802 | 48.4852 | 1497 | 1497
2023-12-13T10:08:08+00:00 | RSM20231213T100808_0009_HA.fits | 2023-12 | 1.7347 | 5.204 | 48.5061 | 1499 | 1499
2023-12-16T12:33:17+00:00 | RSM20231216T123317_0013_HA.fits | 2023-12 | 1.7659 | 5.2977 | 48.4895 | 1503 | 1503
2023-12-19T14:57:07+00:00 | RSM20231219T145707_0016_HA.fits | 2023-12 | 1.7328 | 5.1984 | 48.4662 | 1502 | 1502
2023-12-22T18:34:27+00:00 | RSM20231222T183427_0001_HA.fits | 2023-12 | 1.8332 | 5.4997 | 48.4766 | 1501 | 1501
2023-12-25T19:30:16+00:00 | RSM20231225T193016_0010_HA.fits | 2023-12 | 1.6435 | 4.9304 | 48.5157 | 1503 | 1503
2023-12-28T21:53:47+00:00 | RSM20231228T215347_0013_HA.fits | 2023-12 | 1.5572 | 4.6717 | 48.4984 | 1503 | 1503
2024-01-01T00:00:35+00:00 | RSM20240101T000035_0002_HA.fits | 2024-01 | 1.6626 | 4.9877 | 48.513 | 1503 | 1503
2024-01-05T02:10:46+00:00 | RSM20240105T021046_0008_HA.fits | 2024-01 | 1.9894 | 5.9683 | 48.4854 | 1504 | 1504
2024-01-08T02:52:01+00:00 | RSM20240108T025201_0006_HA.fits | 2024-01 | 1.8402 | 5.5205 | 48.489 | 1514 | 1514
2024-01-10T23:01:32+00:00 | RSM20240110T230132_0013_HA.fits | 2024-01 | 1.6242 | 4.8727 | 48.5132 | 1500 | 1500
2024-01-13T23:43:44+00:00 | RSM20240113T234344_0011_HA.fits | 2024-01 | 1.6406 | 4.9218 | 48.4971 | 1498 | 1498
2024-01-16T19:32:55+00:00 | RSM20240116T193255_0002_HA.fits | 2024-01 | 1.7567 | 5.2702 | 48.4621 | 1502 | 1502
2024-01-19T20:18:27+00:00 | RSM20240119T201827_0003_HA.fits | 2024-01 | 1.5723 | 4.7168 | 48.4518 | 1501 | 1501
2024-01-22T20:59:06+00:00 | RSM20240122T205906_0000_HA.fits | 2024-01 | 1.5523 | 4.657 | 48.4511 | 1500 | 1500
2024-01-25T20:27:17+00:00 | RSM20240125T202717_0016_HA.fits | 2024-01 | 1.682 | 5.0459 | 48.4271 | 1497 | 1497
2024-01-28T20:53:31+00:00 | RSM20240128T205331_0001_HA.fits | 2024-01 | 1.8246 | 5.4739 | 48.4533 | 1496 | 1496
2024-02-01T00:45:59+00:00 | RSM20240201T004559_0000_HA.fits | 2024-02 | 1.6249 | 4.8747 | 48.4504 | 1500 | 1500
2024-02-04T00:04:22+00:00 | RSM20240204T000422_0008_HA.fits | 2024-02 | 1.6864 | 5.0592 | 48.3859 | 1497 | 1497
2024-02-06T23:22:42+00:00 | RSM20240206T232242_0016_HA.fits | 2024-02 | 1.6089 | 4.8267 | 48.3839 | 1497 | 1497
2024-02-10T01:28:08+00:00 | RSM20240210T012808_0005_HA.fits | 2024-02 | 1.549 | 4.647 | 48.4515 | 1502 | 1502
2024-02-13T00:47:24+00:00 | RSM20240213T004724_0014_HA.fits | 2024-02 | 1.6074 | 4.8222 | 48.4099 | 1497 | 1497
2024-02-16T02:53:45+00:00 | RSM20240216T025345_0004_HA.fits | 2024-02 | 1.6195 | 4.8584 | 48.4102 | 1496 | 1496
2024-02-19T02:12:47+00:00 | RSM20240219T021247_0013_HA.fits | 2024-02 | 1.656 | 4.968 | 48.4595 | 1497 | 1497
2024-02-22T02:44:01+00:00 | RSM20240222T024401_0003_HA.fits | 2024-02 | 1.8479 | 5.5438 | 48.4407 | 1494 | 1494
2024-02-25T14:37:25+00:00 | RSM20240225T143725_0010_HA.fits | 2024-02 | 1.4843 | 4.453 | 48.4069 | 1493 | 1493
2024-02-27T18:42:33+00:00 | RSM20240227T184233_0003_HA.fits | 2024-02 | 1.5228 | 4.5683 | 48.454 | 1497 | 1497
2024-03-01T00:27:17+00:00 | RSM20240301T002717_0000_HA.fits | 2024-03 | 1.5825 | 4.7475 | 48.4371 | 1486 | 1486
2024-03-03T22:26:19+00:00 | RSM20240303T222619_0029_HA.fits | 2024-03 | 1.5791 | 4.7373 | 48.4177 | 1491 | 1491
2024-03-07T19:54:04+00:00 | RSM20240307T195404_0021_HA.fits | 2024-03 | 1.5208 | 4.5623 | 48.4027 | 1486 | 1486
2024-03-10T15:43:37+00:00 | RSM20240310T154337_0012_HA.fits | 2024-03 | 1.6748 | 5.0244 | 48.4668 | 1488 | 1488
2024-03-13T16:26:12+00:00 | RSM20240313T162612_0008_HA.fits | 2024-03 | 1.7419 | 5.2257 | 48.4784 | 1482 | 1482
2024-03-16T14:11:52+00:00 | RSM20240316T141152_0015_HA.fits | 2024-03 | 1.7122 | 5.1367 | 48.4975 | 1481 | 1481
2024-03-19T16:32:46+00:00 | RSM20240319T163246_0014_HA.fits | 2024-03 | 1.8329 | 5.4988 | 48.4885 | 1483 | 1483
2024-03-22T17:23:23+00:00 | RSM20240322T172323_0017_HA.fits | 2024-03 | 1.7714 | 5.3143 | 48.4692 | 1480 | 1480
2024-03-25T19:52:19+00:00 | RSM20240325T195219_0023_HA.fits | 2024-03 | 1.4658 | 4.3975 | 48.4682 | 1481 | 1481
2024-03-28T20:39:05+00:00 | RSM20240328T203905_0023_HA.fits | 2024-03 | 1.7733 | 5.32 | 48.4827 | 1479 | 1479
2024-04-01T00:08:21+00:00 | RSM20240401T000821_0000_HA.fits | 2024-04 | 1.7021 | 5.1062 | 48.4901 | 1477 | 1477
2024-04-03T20:12:31+00:00 | RSM20240403T201231_0002_HA.fits | 2024-04 | 1.6748 | 5.0243 | 48.4882 | 1472 | 1472
2024-04-06T22:57:35+00:00 | RSM20240406T225735_0022_HA.fits | 2024-04 | 1.7737 | 5.321 | 48.4725 | 1477 | 1477
2024-04-10T08:48:42+00:00 | RSM20240410T084842_0001_HA.fits | 2024-04 | 1.6201 | 4.8603 | 48.502 | 1474 | 1474
2024-04-13T03:24:50+00:00 | RSM20240413T032450_0009_HA.fits | 2024-04 | 1.6666 | 4.9999 | 48.4933 | 1474 | 1474
2024-04-16T08:58:11+00:00 | RSM20240416T085811_0011_HA.fits | 2024-04 | 1.7356 | 5.2067 | 48.4769 | 1468 | 1468
2024-04-19T09:41:56+00:00 | RSM20240419T094156_0009_HA.fits | 2024-04 | 1.7044 | 5.1131 | 48.4822 | 1476 | 1476
2024-04-22T04:21:13+00:00 | RSM20240422T042113_0020_HA.fits | 2024-04 | 1.8225 | 5.4675 | 48.4928 | 1466 | 1466
2024-04-25T00:23:28+00:00 | RSM20240425T002328_0021_HA.fits | 2024-04 | 1.7894 | 5.3682 | 48.4896 | 1466 | 1466
2024-04-27T20:10:11+00:00 | RSM20240427T201011_0009_HA.fits | 2024-04 | 1.7454 | 5.2362 | 48.4696 | 1468 | 1468
2024-05-01T00:00:46+00:00 | RSM20240501T000046_0005_HA.fits | 2024-05 | 1.5302 | 4.5906 | 48.4784 | 1463 | 1463
2024-05-04T04:07:51+00:00 | RSM20240504T040751_0015_HA.fits | 2024-05 | 1.6888 | 5.0665 | 48.4788 | 1465 | 1465
2024-05-07T06:25:44+00:00 | RSM20240507T062544_0013_HA.fits | 2024-05 | 1.9235 | 5.7705 | 48.4839 | 1459 | 1459
2024-05-10T13:36:29+00:00 | RSM20240510T133629_0018_HA.fits | 2024-05 | 2.0131 | 6.0394 | 48.5025 | 1462 | 1462
2024-05-13T14:23:56+00:00 | RSM20240513T142356_0020_HA.fits | 2024-05 | 1.9068 | 5.7205 | 48.477 | 1463 | 1463
2024-05-16T16:35:30+00:00 | RSM20240516T163530_0013_HA.fits | 2024-05 | 1.4954 | 4.4861 | 48.5182 | 1460 | 1460
2024-05-19T15:39:27+00:00 | RSM20240519T153927_0008_HA.fits | 2024-05 | 1.668 | 5.004 | 48.5017 | 1456 | 1456
2024-05-22T21:06:21+00:00 | RSM20240522T210621_0006_HA.fits | 2024-05 | 1.662 | 4.9859 | 48.5013 | 1457 | 1457
2024-05-25T20:23:05+00:00 | RSM20240525T202305_0012_HA.fits | 2024-05 | 1.8533 | 5.56 | 48.4775 | 1455 | 1455
2024-05-28T21:08:42+00:00 | RSM20240528T210842_0013_HA.fits | 2024-05 | 1.8223 | 5.4669 | 48.4801 | 1457 | 1457
2024-06-01T00:47:24+00:00 | RSM20240601T004724_0000_HA.fits | 2024-06 | 1.7564 | 5.2691 | 48.4775 | 1458 | 1458
2024-06-03T20:55:20+00:00 | RSM20240603T205520_0007_HA.fits | 2024-06 | 1.7235 | 5.1706 | 48.4934 | 1457 | 1457
2024-06-06T20:22:22+00:00 | RSM20240606T202222_0022_HA.fits | 2024-06 | 1.734 | 5.202 | 48.4945 | 1458 | 1458
2024-06-09T20:40:24+00:00 | RSM20240609T204024_0000_HA.fits | 2024-06 | 1.6488 | 4.9464 | 48.4705 | 1456 | 1456
2024-06-12T18:32:25+00:00 | RSM20240612T183225_0015_HA.fits | 2024-06 | 1.8018 | 5.4054 | 48.4787 | 1449 | 1449
2024-06-15T22:23:39+00:00 | RSM20240615T222339_0013_HA.fits | 2024-06 | 1.681 | 5.043 | 48.4841 | 1451 | 1451
2024-06-19T07:01:46+00:00 | RSM20240619T070146_0013_HA.fits | 2024-06 | 1.7412 | 5.2235 | 48.4672 | 1454 | 1454
2024-06-22T05:55:13+00:00 | RSM20240622T055513_0000_HA.fits | 2024-06 | 1.7669 | 5.3007 | 48.48 | 1455 | 1455
2024-06-25T03:44:33+00:00 | RSM20240625T034433_0013_HA.fits | 2024-06 | 1.6629 | 4.9886 | 48.4907 | 1451 | 1451
2024-06-28T01:07:44+00:00 | RSM20240628T010744_0004_HA.fits | 2024-06 | 1.882 | 5.6459 | 48.4918 | 1450 | 1450
2024-07-01T00:11:36+00:00 | RSM20240701T001136_0000_HA.fits | 2024-07 | 1.791 | 5.3729 | 48.487 | 1450 | 1450
2024-07-04T15:25:13+00:00 | RSM20240704T152513_0014_HA.fits | 2024-07 | 1.5985 | 4.7954 | 48.4941 | 1450 | 1450
2024-07-07T11:25:08+00:00 | RSM20240707T112508_0015_HA.fits | 2024-07 | 1.7749 | 5.3246 | 48.4655 | 1450 | 1450
2024-07-10T08:57:23+00:00 | RSM20240710T085723_0014_HA.fits | 2024-07 | 1.8351 | 5.5053 | 48.4812 | 1455 | 1455
2024-07-13T06:41:26+00:00 | RSM20240713T064126_0023_HA.fits | 2024-07 | 1.6811 | 5.0434 | 48.4524 | 1450 | 1450
2024-07-16T08:33:16+00:00 | RSM20240716T083316_0001_HA.fits | 2024-07 | 1.6408 | 4.9223 | 48.4672 | 1451 | 1451
2024-07-19T08:00:14+00:00 | RSM20240719T080014_0017_HA.fits | 2024-07 | 1.6248 | 4.8744 | 48.4906 | 1452 | 1452
2024-07-22T08:39:25+00:00 | RSM20240722T083925_0014_HA.fits | 2024-07 | 1.7967 | 5.3901 | 48.4861 | 1453 | 1453
2024-07-25T14:03:04+00:00 | RSM20240725T140304_0011_HA.fits | 2024-07 | 1.9722 | 5.9167 | 48.4702 | 1458 | 1458
2024-07-29T00:02:47+00:00 | RSM20240729T000247_0001_HA.fits | 2024-07 | 1.6414 | 4.9241 | 48.5259 | 1450 | 1450
2024-08-01T00:48:10+00:00 | RSM20240801T004810_0000_HA.fits | 2024-08 | 1.8395 | 5.5185 | 48.4772 | 1456 | 1456
2024-08-04T00:07:34+00:00 | RSM20240804T000734_0006_HA.fits | 2024-08 | 1.8504 | 5.5512 | 48.5196 | 1458 | 1458
2024-08-06T23:22:07+00:00 | RSM20240806T232207_0008_HA.fits | 2024-08 | 1.7391 | 5.2173 | 48.4938 | 1457 | 1457
2024-08-09T22:40:08+00:00 | RSM20240809T224008_0013_HA.fits | 2024-08 | 1.6913 | 5.0739 | 48.4912 | 1462 | 1462
2024-08-12T21:49:40+00:00 | RSM20240812T214940_0011_HA.fits | 2024-08 | 1.7047 | 5.1141 | 48.4988 | 1454 | 1454
2024-08-15T22:36:18+00:00 | RSM20240815T223618_0011_HA.fits | 2024-08 | 1.7818 | 5.3453 | 48.463 | 1456 | 1456
2024-08-18T21:53:44+00:00 | RSM20240818T215344_0016_HA.fits | 2024-08 | 1.6389 | 4.9167 | 48.4863 | 1460 | 1460
2024-08-22T00:10:15+00:00 | RSM20240822T001015_0012_HA.fits | 2024-08 | 1.7762 | 5.3286 | 48.4605 | 1461 | 1461
2024-08-25T10:23:33+00:00 | RSM20240825T102333_0010_HA.fits | 2024-08 | 2.0333 | 6.1 | 48.4891 | 1463 | 1463
2024-08-28T14:35:59+00:00 | RSM20240828T143559_0024_HA.fits | 2024-08 | 1.7833 | 5.3499 | 48.51 | 1464 | 1464
2024-09-01T00:22:54+00:00 | RSM20240901T002254_0000_HA.fits | 2024-09 | 1.8094 | 5.4282 | 48.485 | 1470 | 1470
2024-09-04T04:37:22+00:00 | RSM20240904T043722_0016_HA.fits | 2024-09 | 1.9831 | 5.9493 | 48.4711 | 1466 | 1466
2024-09-07T02:07:12+00:00 | RSM20240907T020712_0011_HA.fits | 2024-09 | 1.5877 | 4.7631 | 48.495 | 1461 | 1461
2024-09-09T21:54:48+00:00 | RSM20240909T215448_0000_HA.fits | 2024-09 | 1.87 | 5.6099 | 48.4687 | 1468 | 1468
2024-09-12T19:44:22+00:00 | RSM20240912T194422_0008_HA.fits | 2024-09 | 1.8648 | 5.5944 | 48.4754 | 1473 | 1473
2024-09-15T14:13:22+00:00 | RSM20240915T141322_0015_HA.fits | 2024-09 | 1.7498 | 5.2495 | 48.4724 | 1466 | 1466
2024-09-19T00:33:23+00:00 | RSM20240919T003323_0020_HA.fits | 2024-09 | 1.8795 | 5.6384 | 48.4686 | 1471 | 1471
2024-09-22T01:00:20+00:00 | RSM20240922T010020_0005_HA.fits | 2024-09 | 1.6289 | 4.8867 | 48.4801 | 1473 | 1473
2024-09-25T06:35:25+00:00 | RSM20240925T063525_0010_HA.fits | 2024-09 | 1.7964 | 5.3893 | 48.4728 | 1469 | 1469
2024-09-28T04:11:16+00:00 | RSM20240928T041116_0011_HA.fits | 2024-09 | 1.7711 | 5.3134 | 48.4797 | 1475 | 1475
2024-10-01T00:00:12+00:00 | RSM20241001T000012_0002_HA.fits | 2024-10 | 1.9747 | 5.924 | 48.465 | 1473 | 1473
2024-10-04T05:51:21+00:00 | RSM20241004T055121_0021_HA.fits | 2024-10 | 1.6116 | 4.8349 | 48.4907 | 1477 | 1477
2024-10-07T01:54:03+00:00 | RSM20241007T015403_0024_HA.fits | 2024-10 | 1.7551 | 5.2652 | 48.5104 | 1479 | 1479
2024-10-10T02:15:10+00:00 | RSM20241010T021510_0005_HA.fits | 2024-10 | 1.716 | 5.148 | 48.4751 | 1475 | 1475
2024-10-12T15:48:34+00:00 | RSM20241012T154834_0000_HA.fits | 2024-10 | 1.8194 | 5.4581 | 48.4519 | 1482 | 1482
2024-10-15T05:46:41+00:00 | RSM20241015T054641_0016_HA.fits | 2024-10 | 1.7542 | 5.2625 | 48.4881 | 1483 | 1483
2024-10-19T15:47:27+00:00 | RSM20241019T154727_0021_HA.fits | 2024-10 | 1.5453 | 4.6358 | 48.4905 | 1485 | 1485
2024-10-22T14:37:35+00:00 | RSM20241022T143735_0006_HA.fits | 2024-10 | 1.6755 | 5.0265 | 48.4634 | 1487 | 1487
2024-10-25T07:30:47+00:00 | RSM20241025T073047_0010_HA.fits | 2024-10 | 1.3648 | 4.0945 | 48.4438 | 1488 | 1488
2024-10-29T01:40:36+00:00 | RSM20241029T014036_0010_HA.fits | 2024-10 | 1.4578 | 4.3735 | 48.5032 | 1493 | 1493
2024-11-01T12:00:53+00:00 | RSM20241101T120053_0013_HA.fits | 2024-11 | 1.5977 | 4.7932 | 48.4779 | 1490 | 1490
2024-11-04T04:50:40+00:00 | RSM20241104T045040_0011_HA.fits | 2024-11 | 1.6276 | 4.8829 | 48.4997 | 1490 | 1490
2024-11-07T05:35:26+00:00 | RSM20241107T053526_0005_HA.fits | 2024-11 | 1.7352 | 5.2057 | 48.4916 | 1486 | 1486
2024-11-10T14:30:34+00:00 | RSM20241110T143034_0017_HA.fits | 2024-11 | 1.8828 | 5.6484 | 48.4845 | 1492 | 1492
2024-11-14T18:00:45+00:00 | RSM20241114T180045_0009_HA.fits | 2024-11 | 1.9936 | 5.9808 | 48.467 | 1490 | 1490
2024-11-18T13:45:37+00:00 | RSM20241118T134537_0009_HA.fits | 2024-11 | 1.7062 | 5.1187 | 48.472 | 1494 | 1494
2024-11-21T22:30:42+00:00 | RSM20241121T223042_0013_HA.fits | 2024-11 | 1.6534 | 4.9603 | 48.4799 | 1502 | 1502
2024-11-22T06:29:58+00:00 | RSM20241122T062958_0017_HA.fits | 2024-11 | 1.7075 | 5.1226 | 48.4817 | 1493 | 1493
2024-11-24T12:00:10+00:00 | RSM20241124T120010_0003_HA.fits | 2024-11 | 1.407 | 4.2209 | 48.4824 | 1502 | 1502
2024-11-25T08:30:21+00:00 | RSM20241125T083021_0000_HA.fits | 2024-11 | 1.5561 | 4.6682 | 48.4699 | 1498 | 1498
2024-12-02T09:44:34+00:00 | RSM20241202T094434_0000_HA.fits | 2024-12 | 1.5625 | 4.6874 | 48.4856 | 1498 | 1498
2024-12-05T01:00:19+00:00 | RSM20241205T010019_0000_HA.fits | 2024-12 | 1.7647 | 5.2942 | 48.4801 | 1500 | 1500
2024-12-08T00:10:24+00:00 | RSM20241208T001024_0000_HA.fits | 2024-12 | 1.6872 | 5.0615 | 48.4681 | 1502 | 1502
2024-12-11T00:55:13+00:00 | RSM20241211T005513_0000_HA.fits | 2024-12 | 1.695 | 5.0851 | 48.4723 | 1499 | 1499
2024-12-14T00:05:01+00:00 | RSM20241214T000501_0000_HA.fits | 2024-12 | 1.7351 | 5.2054 | 48.4762 | 1502 | 1502
2024-12-17T00:49:36+00:00 | RSM20241217T004936_0000_HA.fits | 2024-12 | 1.7384 | 5.2153 | 48.4865 | 1500 | 1500
2024-12-20T00:00:22+00:00 | RSM20241220T000022_0001_HA.fits | 2024-12 | 1.6932 | 5.0797 | 48.4738 | 1504 | 1504
2024-12-23T00:43:30+00:00 | RSM20241223T004330_0000_HA.fits | 2024-12 | 1.7767 | 5.33 | 48.4706 | 1501 | 1501
2024-12-26T00:01:07+00:00 | RSM20241226T000107_0007_HA.fits | 2024-12 | 1.6994 | 5.0982 | 48.4992 | 1499 | 1499
2024-12-29T00:36:52+00:00 | RSM20241229T003652_0000_HA.fits | 2024-12 | 1.9168 | 5.7505 | 48.4865 | 1501 | 1501
2025-01-01T01:20:44+00:00 | RSM20250101T012044_0000_HA.fits | 2025-01 | 1.6012 | 4.8037 | 48.4844 | 1503 | 1503
2025-01-04T00:29:32+00:00 | RSM20250104T002932_0000_HA.fits | 2025-01 | 1.8705 | 5.6116 | 48.4665 | 1500 | 1500
2025-01-07T01:13:01+00:00 | RSM20250107T011301_0000_HA.fits | 2025-01 | 1.9339 | 5.8016 | 48.4405 | 1505 | 1505
2025-01-10T00:21:31+00:00 | RSM20250110T002131_0000_HA.fits | 2025-01 | 1.6396 | 4.9188 | 48.4705 | 1500 | 1500
2025-01-13T01:04:45+00:00 | RSM20250113T010445_0000_HA.fits | 2025-01 | 1.8053 | 5.4159 | 48.4818 | 1500 | 1500
2025-01-16T00:13:02+00:00 | RSM20250116T001302_0000_HA.fits | 2025-01 | 1.6141 | 4.8422 | 48.4847 | 1502 | 1502
2025-01-19T00:56:03+00:00 | RSM20250119T005603_0000_HA.fits | 2025-01 | 1.6723 | 5.0169 | 48.4622 | 1502 | 1502
2025-01-22T00:04:59+00:00 | RSM20250122T000459_0000_HA.fits | 2025-01 | 1.7335 | 5.2005 | 48.4606 | 1500 | 1500
2025-01-25T00:52:56+00:00 | RSM20250125T005256_0000_HA.fits | 2025-01 | 1.7094 | 5.1281 | 48.4868 | 1502 | 1502
2025-01-28T00:05:47+00:00 | RSM20250128T000547_0000_HA.fits | 2025-01 | 1.6237 | 4.8712 | 48.4808 | 1499 | 1499
2025-01-31T00:53:26+00:00 | RSM20250131T005326_0000_HA.fits | 2025-01 | 1.5387 | 4.616 | 48.4774 | 1505 | 1505
2025-02-03T00:06:03+00:00 | RSM20250203T000603_0000_HA.fits | 2025-02 | 1.7905 | 5.3714 | 48.4808 | 1500 | 1500
2025-02-06T00:53:27+00:00 | RSM20250206T005327_0000_HA.fits | 2025-02 | 1.6226 | 4.8677 | 48.4711 | 1499 | 1499
2025-02-09T00:05:46+00:00 | RSM20250209T000546_0000_HA.fits | 2025-02 | 1.6758 | 5.0274 | 48.486 | 1497 | 1497
2025-02-12T00:47:37+00:00 | RSM20250212T004737_0000_HA.fits | 2025-02 | 1.7402 | 5.2207 | 48.5242 | 1497 | 1497
2025-02-15T00:00:57+00:00 | RSM20250215T000057_0001_HA.fits | 2025-02 | 1.6529 | 4.9586 | 48.51 | 1496 | 1496
2025-02-18T00:46:41+00:00 | RSM20250218T004641_0000_HA.fits | 2025-02 | 1.7443 | 5.2329 | 48.4798 | 1494 | 1494
2025-02-21T00:00:53+00:00 | RSM20250221T000053_0002_HA.fits | 2025-02 | 1.6694 | 5.0082 | 48.4995 | 1491 | 1491
2025-02-24T00:45:09+00:00 | RSM20250224T004509_0000_HA.fits | 2025-02 | 1.8272 | 5.4816 | 48.5021 | 1494 | 1494
2025-02-27T00:00:17+00:00 | RSM20250227T000017_0003_HA.fits | 2025-02 | 1.7337 | 5.2011 | 48.5005 | 1489 | 1489
2025-03-02T00:43:03+00:00 | RSM20250302T004303_0000_HA.fits | 2025-03 | 1.8372 | 5.5115 | 48.4847 | 1491 | 1491
2025-03-05T00:00:15+00:00 | RSM20250305T000015_0005_HA.fits | 2025-03 | 1.8057 | 5.4171 | 48.4708 | 1492 | 1492
2025-03-08T00:40:24+00:00 | RSM20250308T004024_0000_HA.fits | 2025-03 | 1.7884 | 5.3652 | 48.4792 | 1490 | 1490
2025-03-11T00:00:56+00:00 | RSM20250311T000056_0008_HA.fits | 2025-03 | 1.5132 | 4.5396 | 48.4861 | 1489 | 1489
2025-03-14T00:37:20+00:00 | RSM20250314T003720_0000_HA.fits | 2025-03 | 1.6777 | 5.033 | 48.4904 | 1483 | 1483
2025-03-17T00:01:09+00:00 | RSM20250317T000109_0011_HA.fits | 2025-03 | 1.6754 | 5.0262 | 48.468 | 1487 | 1487
2025-03-20T00:33:41+00:00 | RSM20250320T003341_0000_HA.fits | 2025-03 | 1.7087 | 5.126 | 48.4579 | 1480 | 1480
2025-03-23T00:00:43+00:00 | RSM20250323T000043_0014_HA.fits | 2025-03 | 1.8594 | 5.5781 | 48.4615 | 1487 | 1487
2025-03-26T00:29:21+00:00 | RSM20250326T002921_0000_HA.fits | 2025-03 | 1.9169 | 5.7508 | 48.4651 | 1478 | 1478
2025-03-29T13:53:29+00:00 | RSM20250329T135329_0000_HA.fits | 2025-03 | 1.692 | 5.0761 | 48.4865 | 1477 | 1477
2025-04-01T00:24:24+00:00 | RSM20250401T002424_0000_HA.fits | 2025-04 | 1.7723 | 5.317 | 48.4719 | 1475 | 1475
2025-04-04T00:00:22+00:00 | RSM20250404T000022_0022_HA.fits | 2025-04 | 1.619 | 4.857 | 48.4663 | 1474 | 1474
2025-04-07T00:19:00+00:00 | RSM20250407T001900_0000_HA.fits | 2025-04 | 1.8169 | 5.4508 | 48.47 | 1476 | 1476
2025-04-10T01:03:33+00:00 | RSM20250410T010333_0000_HA.fits | 2025-04 | 1.8123 | 5.4368 | 48.4637 | 1473 | 1473
2025-04-13T00:13:06+00:00 | RSM20250413T001306_0000_HA.fits | 2025-04 | 1.7289 | 5.1868 | 48.4796 | 1477 | 1477
2025-04-16T02:32:18+00:00 | RSM20250416T023218_0000_HA.fits | 2025-04 | 1.8143 | 5.4429 | 48.4904 | 1470 | 1470
2025-04-19T00:06:46+00:00 | RSM20250419T000646_0000_HA.fits | 2025-04 | 1.8842 | 5.6527 | 48.4613 | 1471 | 1471
2025-04-22T00:50:53+00:00 | RSM20250422T005053_0000_HA.fits | 2025-04 | 1.5689 | 4.7066 | 48.4781 | 1470 | 1470
2025-04-25T00:00:01+00:00 | RSM20250425T000001_0000_HA.fits | 2025-04 | 1.6008 | 4.8025 | 48.4875 | 1471 | 1471
2025-04-28T00:43:55+00:00 | RSM20250428T004355_0000_HA.fits | 2025-04 | 1.7388 | 5.2164 | 48.4782 | 1468 | 1468
2025-05-01T00:01:09+00:00 | RSM20250501T000109_0007_HA.fits | 2025-05 | 1.7739 | 5.3217 | 48.4946 | 1467 | 1467
2025-05-04T00:36:33+00:00 | RSM20250504T003633_0000_HA.fits | 2025-05 | 1.7393 | 5.2178 | 48.487 | 1463 | 1463
2025-05-07T00:00:42+00:00 | RSM20250507T000042_0013_HA.fits | 2025-05 | 1.6912 | 5.0737 | 48.4658 | 1463 | 1463
2025-05-10T00:28:51+00:00 | RSM20250510T002851_0000_HA.fits | 2025-05 | 1.8696 | 5.6089 | 48.4687 | 1465 | 1465
2025-05-13T00:01:07+00:00 | RSM20250513T000107_0020_HA.fits | 2025-05 | 1.5595 | 4.6784 | 48.4798 | 1462 | 1462
2025-05-16T00:20:52+00:00 | RSM20250516T002052_0000_HA.fits | 2025-05 | 1.7774 | 5.3321 | 48.4664 | 1462 | 1462
2025-05-19T01:04:13+00:00 | RSM20250519T010413_0000_HA.fits | 2025-05 | 1.6215 | 4.8644 | 48.493 | 1459 | 1459
2025-05-22T00:12:39+00:00 | RSM20250522T001239_0000_HA.fits | 2025-05 | 1.6531 | 4.9594 | 48.4838 | 1457 | 1457
2025-05-25T00:55:53+00:00 | RSM20250525T005553_0000_HA.fits | 2025-05 | 1.8646 | 5.5937 | 48.4635 | 1461 | 1461
2025-05-28T00:04:13+00:00 | RSM20250528T000413_0000_HA.fits | 2025-05 | 1.7667 | 5.3 | 48.4845 | 1460 | 1460
2025-05-31T00:47:20+00:00 | RSM20250531T004720_0000_HA.fits | 2025-05 | 1.7422 | 5.2266 | 48.5052 | 1455 | 1455
2025-06-03T00:00:16+00:00 | RSM20250603T000016_0004_HA.fits | 2025-06 | 1.7914 | 5.3742 | 48.4871 | 1455 | 1455
2025-06-06T00:38:31+00:00 | RSM20250606T003831_0000_HA.fits | 2025-06 | 1.8689 | 5.6067 | 48.4897 | 1453 | 1453
2025-06-09T00:00:48+00:00 | RSM20250609T000048_0012_HA.fits | 2025-06 | 1.9141 | 5.7423 | 48.4722 | 1453 | 1453
2025-06-12T00:29:28+00:00 | RSM20250612T002928_0000_HA.fits | 2025-06 | 1.7045 | 5.1135 | 48.4512 | 1453 | 1453
2025-06-15T00:01:06+00:00 | RSM20250615T000106_0020_HA.fits | 2025-06 | 1.7097 | 5.1292 | 48.4339 | 1452 | 1452
2025-06-18T00:21:00+00:00 | RSM20250618T002100_0000_HA.fits | 2025-06 | 1.6417 | 4.9252 | 48.4634 | 1459 | 1459
2025-06-21T00:00:47+00:00 | RSM20250621T000047_0023_HA.fits | 2025-06 | 1.7864 | 5.3591 | 48.4615 | 1457 | 1457
2025-06-24T00:20:56+00:00 | RSM20250624T002056_0000_HA.fits | 2025-06 | 1.7555 | 5.2666 | 48.4748 | 1455 | 1455
2025-06-27T00:00:37+00:00 | RSM20250627T000037_0023_HA.fits | 2025-06 | 1.6553 | 4.9659 | 48.4631 | 1455 | 1455
2025-06-30T00:20:43+00:00 | RSM20250630T002043_0000_HA.fits | 2025-06 | 1.8751 | 5.6252 | 48.4453 | 1455 | 1455
2025-07-03T00:00:20+00:00 | RSM20250703T000020_0023_HA.fits | 2025-07 | 1.6197 | 4.859 | 48.4629 | 1456 | 1456
2025-07-06T00:20:19+00:00 | RSM20250706T002019_0000_HA.fits | 2025-07 | 1.6495 | 4.9484 | 48.4482 | 1450 | 1450
2025-07-09T01:07:31+00:00 | RSM20250709T010731_0000_HA.fits | 2025-07 | 1.8327 | 5.4981 | 48.4884 | 1450 | 1450
2025-07-12T00:19:45+00:00 | RSM20250712T001945_0000_HA.fits | 2025-07 | 1.6326 | 4.8977 | 48.4592 | 1456 | 1456
2025-07-15T00:00:21+00:00 | RSM20250715T000021_0024_HA.fits | 2025-07 | 1.602 | 4.806 | 48.4668 | 1455 | 1455
2025-07-18T00:19:04+00:00 | RSM20250718T001904_0000_HA.fits | 2025-07 | 1.6494 | 4.9483 | 48.4643 | 1453 | 1453
2025-07-21T01:06:07+00:00 | RSM20250721T010607_0000_HA.fits | 2025-07 | 1.5831 | 4.7492 | 48.4802 | 1453 | 1453
2025-07-24T00:18:11+00:00 | RSM20250724T001811_0000_HA.fits | 2025-07 | 1.7241 | 5.1724 | 48.4854 | 1457 | 1457
2025-07-27T01:05:08+00:00 | RSM20250727T010508_0000_HA.fits | 2025-07 | 1.5866 | 4.7598 | 48.4694 | 1457 | 1457
2025-07-30T00:17:06+00:00 | RSM20250730T001706_0000_HA.fits | 2025-07 | 1.8405 | 5.5216 | 48.4686 | 1455 | 1455
2025-08-02T01:03:56+00:00 | RSM20250802T010356_0000_HA.fits | 2025-08 | 1.5108 | 4.5323 | 48.4723 | 1458 | 1458
2025-08-05T00:15:47+00:00 | RSM20250805T001547_0000_HA.fits | 2025-08 | 1.661 | 4.9829 | 48.499 | 1456 | 1456
2025-08-08T01:02:32+00:00 | RSM20250808T010232_0000_HA.fits | 2025-08 | 1.6398 | 4.9193 | 48.4695 | 1464 | 1464
2025-08-11T00:14:18+00:00 | RSM20250811T001418_0000_HA.fits | 2025-08 | 1.7222 | 5.1667 | 48.5 | 1461 | 1461
2025-08-14T01:00:56+00:00 | RSM20250814T010056_0000_HA.fits | 2025-08 | 1.6914 | 5.0742 | 48.4818 | 1460 | 1460
2025-08-17T00:12:35+00:00 | RSM20250817T001235_0000_HA.fits | 2025-08 | 1.5778 | 4.7334 | 48.4675 | 1457 | 1457
2025-08-20T00:59:08+00:00 | RSM20250820T005908_0000_HA.fits | 2025-08 | 1.8978 | 5.6933 | 48.463 | 1462 | 1462
2025-08-23T00:10:42+00:00 | RSM20250823T001042_0000_HA.fits | 2025-08 | 1.9005 | 5.7016 | 48.4785 | 1468 | 1468
2025-08-26T00:57:08+00:00 | RSM20250826T005708_0000_HA.fits | 2025-08 | 1.5983 | 4.7949 | 48.4773 | 1461 | 1461
2025-08-29T00:08:37+00:00 | RSM20250829T000837_0000_HA.fits | 2025-08 | 1.9695 | 5.9085 | 48.4695 | 1466 | 1466
2025-09-01T00:54:56+00:00 | RSM20250901T005456_0000_HA.fits | 2025-09 | 1.587 | 4.7611 | 48.5038 | 1466 | 1466
2025-09-04T00:06:13+00:00 | RSM20250904T000613_0000_HA.fits | 2025-09 | 1.7769 | 5.3308 | 48.4793 | 1468 | 1468
2025-09-07T00:52:21+00:00 | RSM20250907T005221_0000_HA.fits | 2025-09 | 1.5823 | 4.747 | 48.503 | 1466 | 1466
2025-09-10T00:03:28+00:00 | RSM20250910T000328_0000_HA.fits | 2025-09 | 1.7165 | 5.1496 | 48.4905 | 1471 | 1471
2025-09-13T00:49:29+00:00 | RSM20250913T004929_0000_HA.fits | 2025-09 | 1.8532 | 5.5595 | 48.4988 | 1464 | 1464
2025-09-16T00:00:30+00:00 | RSM20250916T000030_0000_HA.fits | 2025-09 | 1.7479 | 5.2436 | 48.4809 | 1471 | 1471
2025-09-19T00:46:23+00:00 | RSM20250919T004623_0000_HA.fits | 2025-09 | 1.5361 | 4.6082 | 48.4762 | 1470 | 1470
2025-09-22T00:00:51+00:00 | RSM20250922T000051_0003_HA.fits | 2025-09 | 1.4704 | 4.4113 | 48.4494 | 1469 | 1469
2025-09-25T00:43:00+00:00 | RSM20250925T004300_0000_HA.fits | 2025-09 | 1.6692 | 5.0077 | 48.4766 | 1475 | 1475
2025-09-28T00:00:48+00:00 | RSM20250928T000048_0006_HA.fits | 2025-09 | 1.7382 | 5.2146 | 48.4833 | 1474 | 1474
2025-10-01T00:39:11+00:00 | RSM20251001T003911_0000_HA.fits | 2025-10 | 1.7447 | 5.2341 | 48.4474 | 1476 | 1476
2025-10-04T00:00:16+00:00 | RSM20251004T000016_0009_HA.fits | 2025-10 | 1.5781 | 4.7343 | 48.4823 | 1479 | 1479
2025-10-07T00:34:48+00:00 | RSM20251007T003448_0000_HA.fits | 2025-10 | 1.5877 | 4.7632 | 48.4756 | 1475 | 1475
2025-10-11T01:03:19+00:00 | RSM20251011T010319_0000_HA.fits | 2025-10 | 1.7102 | 5.1306 | 48.47 | 1478 | 1478
2025-10-14T00:13:25+00:00 | RSM20251014T001325_0000_HA.fits | 2025-10 | 1.5964 | 4.7893 | 48.586 | 1478 | 1478
2025-10-17T00:58:19+00:00 | RSM20251017T005819_0000_HA.fits | 2025-10 | 1.5169 | 4.5508 | 48.4935 | 1484 | 1484
2025-10-20T00:08:14+00:00 | RSM20251020T000814_0000_HA.fits | 2025-10 | 1.6608 | 4.9823 | 48.483 | 1485 | 1485
2025-10-23T00:52:56+00:00 | RSM20251023T005256_0000_HA.fits | 2025-10 | 1.714 | 5.1421 | 48.4687 | 1487 | 1487
2025-10-26T00:02:39+00:00 | RSM20251026T000239_0000_HA.fits | 2025-10 | 1.5081 | 4.5242 | 48.4722 | 1489 | 1489
2025-10-29T00:52:26+00:00 | RSM20251029T005226_0000_HA.fits | 2025-10 | 1.5374 | 4.6121 | 48.5367 | 1490 | 1490
2025-11-01T00:01:58+00:00 | RSM20251101T000158_0000_HA.fits | 2025-11 | 1.6201 | 4.8604 | 48.467 | 1491 | 1491
2025-11-04T00:46:17+00:00 | RSM20251104T004617_0000_HA.fits | 2025-11 | 1.867 | 5.601 | 48.4668 | 1487 | 1487
2025-11-07T00:00:24+00:00 | RSM20251107T000024_0004_HA.fits | 2025-11 | 1.7417 | 5.2252 | 48.4587 | 1491 | 1491
2025-11-10T00:39:48+00:00 | RSM20251110T003948_0000_HA.fits | 2025-11 | 1.3815 | 4.1444 | 48.4869 | 1498 | 1498
2025-11-13T00:00:48+00:00 | RSM20251113T000048_0010_HA.fits | 2025-11 | 1.5479 | 4.6438 | 48.4313 | 1496 | 1496
2025-11-16T00:32:51+00:00 | RSM20251116T003251_0000_HA.fits | 2025-11 | 1.634 | 4.9021 | 48.4536 | 1492 | 1492
2025-11-19T00:00:42+00:00 | RSM20251119T000042_0016_HA.fits | 2025-11 | 1.5129 | 4.5388 | 48.4093 | 1497 | 1497
2025-11-22T00:25:27+00:00 | RSM20251122T002527_0000_HA.fits | 2025-11 | 1.6709 | 5.0128 | 48.4503 | 1497 | 1497
2025-11-25T01:09:06+00:00 | RSM20251125T010906_0000_HA.fits | 2025-11 | 1.649 | 4.947 | 48.4579 | 1499 | 1499
2025-11-28T00:17:46+00:00 | RSM20251128T001746_0000_HA.fits | 2025-11 | 1.4574 | 4.3723 | 48.4297 | 1500 | 1500
2025-12-01T01:01:12+00:00 | RSM20251201T010112_0000_HA.fits | 2025-12 | 1.7992 | 5.3977 | 48.4397 | 1496 | 1496
2025-12-04T00:09:43+00:00 | RSM20251204T000943_0000_HA.fits | 2025-12 | 1.534 | 4.6021 | 48.3919 | 1502 | 1502
2025-12-07T00:52:57+00:00 | RSM20251207T005257_0000_HA.fits | 2025-12 | 1.3633 | 4.09 | 48.469 | 1501 | 1501
2025-12-10T00:01:13+00:00 | RSM20251210T000113_0000_HA.fits | 2025-12 | 1.6276 | 4.8828 | 48.4477 | 1499 | 1499
2025-12-13T00:44:15+00:00 | RSM20251213T004415_0000_HA.fits | 2025-12 | 1.6284 | 4.8851 | 48.3978 | 1502 | 1502
2025-12-16T00:00:36+00:00 | RSM20251216T000036_0007_HA.fits | 2025-12 | 1.6697 | 5.0091 | 48.4255 | 1504 | 1504
2025-12-19T00:35:10+00:00 | RSM20251219T003510_0000_HA.fits | 2025-12 | 1.7491 | 5.2472 | 48.4413 | 1503 | 1503
2025-12-22T00:00:54+00:00 | RSM20251222T000054_0015_HA.fits | 2025-12 | 1.5242 | 4.5727 | 48.4225 | 1504 | 1504
2025-12-25T00:25:50+00:00 | RSM20251225T002550_0000_HA.fits | 2025-12 | 1.641 | 4.923 | 48.4258 | 1505 | 1505
2025-12-28T01:11:29+00:00 | RSM20251228T011129_0000_HA.fits | 2025-12 | 1.4519 | 4.3557 | 48.4363 | 1506 | 1506
2025-12-31T00:24:51+00:00 | RSM20251231T002451_0000_HA.fits | 2025-12 | 1.6402 | 4.9207 | 48.4164 | 1502 | 1502
2026-01-01T13:00:49+00:00 | RSM20260101T130049_0010_HA.fits | 2026-01 | 1.3999 | 4.1996 | 48.4261 | 1503 | 1503
2026-01-04T15:15:40+00:00 | RSM20260104T151540_0003_HA.fits | 2026-01 | 1.5718 | 4.7153 | 48.4227 | 1500 | 1500
2026-01-08T08:00:24+00:00 | RSM20260108T080024_0009_HA.fits | 2026-01 | 1.5588 | 4.6763 | 48.4173 | 1498 | 1498
2026-01-11T13:30:53+00:00 | RSM20260111T133053_0007_HA.fits | 2026-01 | 1.6979 | 5.0936 | 48.3977 | 1502 | 1502
2026-01-14T14:14:04+00:00 | RSM20260114T141404_0003_HA.fits | 2026-01 | 1.7921 | 5.3764 | 48.4137 | 1501 | 1501
2026-01-17T05:32:13+00:00 | RSM20260117T053213_0003_HA.fits | 2026-01 | 1.622 | 4.866 | 48.4108 | 1507 | 1507
2026-01-20T09:40:34+00:00 | RSM20260120T094034_0012_HA.fits | 2026-01 | 1.408 | 4.2239 | 48.3886 | 1501 | 1501
2026-01-23T15:03:37+00:00 | RSM20260123T150337_0004_HA.fits | 2026-01 | 1.6543 | 4.9629 | 48.4566 | 1501 | 1501
2026-01-26T11:01:37+00:00 | RSM20260126T110137_0000_HA.fits | 2026-01 | 1.6452 | 4.9357 | 48.4016 | 1501 | 1501
2026-01-29T15:00:11+00:00 | RSM20260129T150011_0001_HA.fits | 2026-01 | 1.6054 | 4.8161 | 48.4248 | 1505 | 1505
2026-02-01T12:50:41+00:00 | RSM20260201T125041_0012_HA.fits | 2026-02 | 1.6703 | 5.0108 | 48.391 | 1505 | 1505
2026-02-04T20:02:30+00:00 | RSM20260204T200230_0016_HA.fits | 2026-02 | 1.5249 | 4.5748 | 48.3984 | 1501 | 1501
2026-02-07T17:30:22+00:00 | RSM20260207T173022_0008_HA.fits | 2026-02 | 1.6706 | 5.0119 | 48.4213 | 1498 | 1498
2026-02-10T13:30:20+00:00 | RSM20260210T133020_0006_HA.fits | 2026-02 | 1.6517 | 4.9552 | 48.4271 | 1498 | 1498
2026-02-13T11:08:09+00:00 | RSM20260213T110809_0011_HA.fits | 2026-02 | 1.4532 | 4.3596 | 48.3816 | 1498 | 1498
2026-02-16T08:50:02+00:00 | RSM20260216T085002_0015_HA.fits | 2026-02 | 1.3727 | 4.1181 | 48.4225 | 1491 | 1491
2026-02-19T12:55:07+00:00 | RSM20260219T125507_0022_HA.fits | 2026-02 | 1.4119 | 4.2357 | 48.3993 | 1494 | 1494
2026-02-22T13:23:05+00:00 | RSM20260222T132305_0006_HA.fits | 2026-02 | 1.6268 | 4.8805 | 48.4046 | 1492 | 1492
2026-02-25T17:25:42+00:00 | RSM20260225T172542_0011_HA.fits | 2026-02 | 1.3828 | 4.1483 | 48.4123 | 1497 | 1497
2026-02-28T15:00:15+00:00 | RSM20260228T150015_0009_HA.fits | 2026-02 | 1.6169 | 4.8507 | 48.4349 | 1490 | 1490
2026-03-02T05:00:53+00:00 | RSM20260302T050053_0011_HA.fits | 2026-03 | 1.5829 | 4.7486 | 48.3966 | 1488 | 1488
2026-03-05T12:20:14+00:00 | RSM20260305T122014_0022_HA.fits | 2026-03 | 1.4271 | 4.2813 | 48.3991 | 1491 | 1491
2026-03-08T19:00:28+00:00 | RSM20260308T190028_0000_HA.fits | 2026-03 | 1.5353 | 4.606 | 48.3939 | 1491 | 1491
2026-03-11T10:30:26+00:00 | RSM20260311T103026_0011_HA.fits | 2026-03 | 1.4534 | 4.3603 | 48.3789 | 1483 | 1483
2026-03-14T14:30:13+00:00 | RSM20260314T143013_0014_HA.fits | 2026-03 | 1.5863 | 4.7589 | 48.4001 | 1487 | 1487
2026-03-17T21:30:19+00:00 | RSM20260317T213019_0009_HA.fits | 2026-03 | 1.5828 | 4.7483 | 48.4086 | 1480 | 1480
2026-03-20T19:15:03+00:00 | RSM20260320T191503_0016_HA.fits | 2026-03 | 1.6215 | 4.8645 | 48.4101 | 1484 | 1484
2026-03-23T13:30:59+00:00 | RSM20260323T133059_0007_HA.fits | 2026-03 | 1.7764 | 5.3293 | 48.4454 | 1488 | 1488
2026-03-26T17:31:44+00:00 | RSM20260326T173144_0011_HA.fits | 2026-03 | 1.6601 | 4.9802 | 48.4059 | 1477 | 1477
2026-03-30T04:01:33+00:00 | RSM20260330T040133_0023_HA.fits | 2026-03 | 1.5188 | 4.5564 | 48.3979 | 1475 | 1475
2026-04-01T00:00:12+00:00 | RSM20260401T000012_0007_HA.fits | 2026-04 | 1.4018 | 4.2054 | 48.3758 | 1482 | 1482
2026-04-04T00:37:53+00:00 | RSM20260404T003753_0000_HA.fits | 2026-04 | 1.832 | 5.496 | 48.4723 | 1477 | 1477
2026-04-07T00:00:41+00:00 | RSM20260407T000041_0010_HA.fits | 2026-04 | 1.5505 | 4.6516 | 48.456 | 1474 | 1474
2026-04-10T00:34:42+00:00 | RSM20260410T003442_0000_HA.fits | 2026-04 | 1.7987 | 5.3962 | 48.4772 | 1473 | 1473
2026-04-13T00:00:59+00:00 | RSM20260413T000059_0013_HA.fits | 2026-04 | 1.7981 | 5.3942 | 48.4766 | 1474 | 1474
2026-04-16T00:31:21+00:00 | RSM20260416T003121_0000_HA.fits | 2026-04 | 1.6607 | 4.9822 | 48.4466 | 1475 | 1475
2026-04-19T00:01:07+00:00 | RSM20260419T000107_0016_HA.fits | 2026-04 | 1.7416 | 5.2248 | 48.4598 | 1474 | 1474
2026-04-22T00:27:52+00:00 | RSM20260422T002752_0000_HA.fits | 2026-04 | 1.8999 | 5.6996 | 48.4774 | 1469 | 1469
2026-04-25T00:01:08+00:00 | RSM20260425T000108_0019_HA.fits | 2026-04 | 1.7306 | 5.1918 | 48.4742 | 1470 | 1470
2026-04-28T00:24:13+00:00 | RSM20260428T002413_0000_HA.fits | 2026-04 | 1.7247 | 5.1741 | 48.4592 | 1470 | 1470
2026-05-01T00:00:54+00:00 | RSM20260501T000054_0022_HA.fits | 2026-05 | 1.6852 | 5.0555 | 48.4547 | 1463 | 1463
2026-05-04T00:20:22+00:00 | RSM20260504T002022_0000_HA.fits | 2026-05 | 1.6871 | 5.0613 | 48.4632 | 1468 | 1468
2026-05-07T01:05:49+00:00 | RSM20260507T010549_0000_HA.fits | 2026-05 | 1.7608 | 5.2824 | 48.465 | 1465 | 1465
2026-05-10T00:16:19+00:00 | RSM20260510T001619_0000_HA.fits | 2026-05 | 1.7347 | 5.2042 | 48.4668 | 1465 | 1465
2026-05-13T01:01:40+00:00 | RSM20260513T010140_0000_HA.fits | 2026-05 | 1.8364 | 5.5092 | 48.4429 | 1461 | 1461
2026-05-16T00:12:07+00:00 | RSM20260516T001207_0000_HA.fits | 2026-05 | 1.9444 | 5.8331 | 48.468 | 1464 | 1464
2026-05-19T00:57:25+00:00 | RSM20260519T005725_0000_HA.fits | 2026-05 | 1.7021 | 5.1064 | 48.4592 | 1463 | 1463
2026-05-22T00:07:48+00:00 | RSM20260522T000748_0000_HA.fits | 2026-05 | 1.6984 | 5.0951 | 48.4692 | 1462 | 1462
2026-05-25T00:53:02+00:00 | RSM20260525T005302_0000_HA.fits | 2026-05 | 1.7916 | 5.3749 | 48.4645 | 1459 | 1459
2026-05-28T00:03:20+00:00 | RSM20260528T000320_0000_HA.fits | 2026-05 | 1.8725 | 5.6176 | 48.4653 | 1459 | 1459
2026-05-31T00:48:28+00:00 | RSM20260531T004828_0000_HA.fits | 2026-05 | 1.5639 | 4.6917 | 48.4464 | 1459 | 1459
2026-06-03T00:01:01+00:00 | RSM20260603T000101_0002_HA.fits | 2026-06 | 1.6066 | 4.8198 | 48.4673 | 1459 | 1459
2026-06-06T00:43:40+00:00 | RSM20260606T004340_0000_HA.fits | 2026-06 | 1.8968 | 5.6905 | 48.4642 | 1457 | 1457
2026-06-09T00:00:50+00:00 | RSM20260609T000050_0006_HA.fits | 2026-06 | 1.7219 | 5.1656 | 48.4541 | 1454 | 1454
2026-06-12T00:38:39+00:00 | RSM20260612T003839_0000_HA.fits | 2026-06 | 1.6995 | 5.0986 | 48.455 | 1453 | 1453
2026-06-15T00:00:30+00:00 | RSM20260615T000030_0010_HA.fits | 2026-06 | 1.6542 | 4.9626 | 48.4671 | 1450 | 1450
2026-06-18T00:33:30+00:00 | RSM20260618T003330_0000_HA.fits | 2026-06 | 1.6647 | 4.9942 | 48.4481 | 1452 | 1452
2026-06-21T00:01:12+00:00 | RSM20260621T000112_0015_HA.fits | 2026-06 | 1.9038 | 5.7115 | 48.483 | 1452 | 1452
2026-06-24T00:28:12+00:00 | RSM20260624T002812_0000_HA.fits | 2026-06 | 1.7954 | 5.3861 | 48.4584 | 1456 | 1456
2026-06-27T00:00:34+00:00 | RSM20260627T000034_0019_HA.fits | 2026-06 | 1.7101 | 5.1302 | 48.4596 | 1452 | 1452
2026-06-30T00:22:43+00:00 | RSM20260630T002243_0000_HA.fits | 2026-06 | 1.5966 | 4.7897 | 48.4604 | 1452 | 1452
2026-07-03T01:07:22+00:00 | RSM20260703T010722_0000_HA.fits | 2026-07 | 1.6407 | 4.9221 | 48.4624 | 1452 | 1452
2026-07-06T00:17:03+00:00 | RSM20260706T001703_0000_HA.fits | 2026-07 | 1.6454 | 4.9362 | 48.4599 | 1454 | 1454
2026-07-09T01:01:36+00:00 | RSM20260709T010136_0000_HA.fits | 2026-07 | 1.6007 | 4.8022 | 48.4493 | 1456 | 1456
2026-07-12T00:11:14+00:00 | RSM20260712T001114_0000_HA.fits | 2026-07 | 1.7089 | 5.1268 | 48.4228 | 1455 | 1455
2026-07-15T00:55:43+00:00 | RSM20260715T005543_0000_HA.fits | 2026-07 | 1.754 | 5.2619 | 48.4469 | 1456 | 1456
2026-07-18T00:05:18+00:00 | RSM20260718T000518_0000_HA.fits | 2026-07 | 1.884 | 5.6521 | 48.4841 | 1456 | 1456
2026-07-21T00:49:44+00:00 | RSM20260721T004944_0000_HA.fits | 2026-07 | 1.6246 | 4.8737 | 48.4719 | 1457 | 1457
2026-07-24T00:00:27+00:00 | RSM20260724T000027_0001_HA.fits | 2026-07 | 1.6173 | 4.852 | 48.4634 | 1457 | 1457
2026-07-27T00:43:35+00:00 | RSM20260727T004335_0000_HA.fits | 2026-07 | 1.7103 | 5.1308 | 48.4648 | 1454 | 1454
2026-07-30T00:00:07+00:00 | RSM20260730T000007_0006_HA.fits | 2026-07 | 1.5949 | 4.7847 | 48.4754 | 1459 | 1459

## MonthlySummary
month | n_valid_scans | median_robust_3sigma_mA | q25_robust_3sigma_mA | q75_robust_3sigma_mA
2022-12 | 10 | 5.8338 | 5.5181 | 5.9735
2023-01 | 10 | 5.3452 | 5.1616 | 5.4764
2023-02 | 10 | 5.2463 | 5.0282 | 5.6323
2023-03 | 10 | 5.1951 | 5.1565 | 5.4591
2023-04 | 10 | 5.3801 | 5.2518 | 5.4949
2023-05 | 10 | 5.4235 | 5.245 | 5.8472
2023-06 | 10 | 5.5457 | 5.3048 | 5.7343
2023-07 | 10 | 5.4703 | 5.3201 | 5.649
2023-08 | 10 | 5.005 | 4.8188 | 5.1876
2023-09 | 10 | 5.2921 | 5.1839 | 5.4195
2023-10 | 10 | 5.291 | 5.1809 | 5.4952
2023-11 | 10 | 5.1809 | 5.0321 | 5.2208
2023-12 | 10 | 5.1893 | 4.9726 | 5.231
2024-01 | 10 | 5.0168 | 4.885 | 5.423
2024-02 | 10 | 4.8425 | 4.6908 | 4.9447
2024-03 | 10 | 5.0805 | 4.7399 | 5.2921
2024-04 | 10 | 5.1599 | 5.0448 | 5.2998
2024-05 | 10 | 5.2667 | 4.9904 | 5.6804
2024-06 | 10 | 5.2127 | 5.0749 | 5.2928
2024-07 | 10 | 5.184 | 4.9227 | 5.3858
2024-08 | 10 | 5.3369 | 5.1399 | 5.4764
2024-09 | 10 | 5.4087 | 5.2655 | 5.606
2024-10 | 10 | 5.0872 | 4.6856 | 5.2646
2024-11 | 10 | 5.0395 | 4.8156 | 5.1849
2024-12 | 10 | 5.1518 | 5.081 | 5.2745
2025-01 | 11 | 5.0169 | 4.8567 | 5.3082
2025-02 | 9 | 5.2011 | 5.0082 | 5.2329
2025-03 | 10 | 5.2456 | 5.0438 | 5.4879
2025-04 | 10 | 5.2667 | 4.9394 | 5.4413
2025-05 | 11 | 5.2266 | 5.0165 | 5.3269
2025-06 | 10 | 5.3129 | 5.1174 | 5.5485
2025-07 | 10 | 4.923 | 4.8192 | 5.1164
2025-08 | 10 | 5.0286 | 4.826 | 5.5617
2025-09 | 10 | 5.0786 | 4.7505 | 5.2364
2025-10 | 10 | 4.7763 | 4.6427 | 5.0935
2025-11 | 10 | 4.8813 | 4.565 | 4.9963
2025-12 | 11 | 4.8851 | 4.5874 | 4.966
2026-01 | 10 | 4.841 | 4.6861 | 4.9561
2026-02 | 10 | 4.7128 | 4.2667 | 4.9365
2026-03 | 10 | 4.7484 | 4.5688 | 4.8381
2026-04 | 10 | 5.2083 | 5.0301 | 5.3957
2026-05 | 11 | 5.2042 | 5.0782 | 5.442
2026-06 | 10 | 5.1144 | 4.9705 | 5.331
2026-07 | 10 | 4.9292 | 4.8574 | 5.1298